## Sheet1
Manufacturer | Cat. # | Description | Amp Rating | # of Terminals | Lever Bypass | Date: Add/Revise
Durham | D STS61C | Commercial, Instrument, w/ test plate | 20 | 6 | no | 3/14
Milbank | M UC7478-XL | Commercial, Instrument, w/ test plate & closure plate | 20 | 6 | no | 5/18
Siemens | S 9837-8201 | Commercial, Instrument, w/ test plate & closure plate | 20 | 6 | no | 2/20
Milbank | M UC7444-XL | Commercial, Instrument, w/ test plate & closure plate | 20 | 8 | no | 5/18
Durham | D STS131C | Commercial, Instrument, w/ test plate | 20 | 13 | no | 3/14
Milbank | M UC7445-XL | Commercial, Instrument, w/ test plate & closure plate | 20 | 13 | no | 5/18
Siemens | S 9837-8501 | Commercial, Instrument, w/ test plate & closure plate | 20 | 13 | no | 2/20
Durham | D UT-RS101B | Residential, OH, lay in | 100 | 4 | no | 5/19
Milbank | M U9648-RL-100 | Residential, OH, lay in | 100 | 4 | no | 5/19
Siemens | S UAT 111-OG | Residential, OH, lay in | 100 | 4 | no | 2/20
Durham | D UTH4210C | Residential, OH, lay in | 100 | 4 | yes | 5/19
Durham | D UT-2R-2332U | Residential, OH/UG, lay in | 200 | 4 | no | 5/19
Durham | D U-RS220A (1006033) | Residential, UG, stud | 200 | 4 | no | 5/19
Durham | D UTRS212B | Residential, OH, lay in | 200 | 4 | no | 6/19
Durham | D 1006034 | Residential, OH, lay in | 200 | 4 | no | 5/18
Eaton | E UTRS240ACH | Residential, UG, stud | 200 | 4 | no | 3/14
Eaton | E MB***B200BTS | Res, OH/UG, lay in, 200A Break w/ loadcenter | 200 | 4 | no | 5/18
Midwest | MW R281C1P6H | Mobile Home Pedestal, lay in, two 200A Breakers | 200 | 4 | no | 3/14
Milbank | M U5168-XTL-200 | Residential, OH/UG, lay in | 200 | 4 | no | 2/20
Milbank | M U2986-O | Residential, UG, stud | 200 | 4 | no | 3/14
Milbank | M U7040-XL-TG | Residential, OH, lay in | 200 | 4 | no | 5/18
Milbank | M U1252-X | Residential, OH/UG, stud, Duplex | 200 | 4 | no | 5/18
Milbank | M U9647N-XL200-TG | Residential, OH, lay-in, 200A Break. with dual load lugs | 200 | 4 | no | 3/14
Milbank | M U4282-XL-200 | Residential, OH/UG, stud, 200A Breaker | 200 | 4 | no | 3/14
Milbank | M U5136 | Mobile Home Pedestal, lay in, one 200A Breakers | 200 | 4 | no | 5/16
Siemens | S UAT 417-XG | Residential, OH, lay in | 200 | 4 | no | 2/20
Siemens | S UAS278-PG | Residential, UG, stud | 200 | 4 | no | 5/16
Siemens | S MC****B1200RCT | Res, OH/UG,stud/lay in, 200A Break w/ loadcenter | 200 | 4 | no | 5/18
Siemens | S MP****B1200R | Mobile Home Pedestal, lay in, one 200A Breakers | 200 | 4 | no | 5/18
Square D | Q RC816F200C | Residential, OH/UG, lay in | 200 | 4 | no | 5/19
Square D | Q RC816D200CH | Residential, OH/UG, lay in | 200 | 4 | no | 5/19
Square D | Q RC***D200CH | Res, OH/UG, lay in, 200A Break w/ loadcenter | 200 | 4 | no | 5/18
Milbank | M U9865-R-RL | Residential/Commercial, OH/UG, stud | 200 | 4 | yes | 3/14
Siemens | S 42507-025 (4 term) | Residential, OH, stud | 200 | 4 | yes | 5/16
Siemens | S 9804-8946 | Residential, OH/UG, lay in/stud | 200 | 4 | yes | 5/16
Siemens | S UA2717-YG | Residential, OH/UG, lay in/stud | 200 | 4 | yes | 5/16
Durham | D UTH7210T | Commercial, OH/UG, stud | 200 | 7 | yes | 3/14
Milbank | M U9761-R | Commercial, OH/UG, stud | 200 | 7 | yes | 5/18
Milbank | U4701-X | Commercial, OH/UG, lay in | 200 | 7 | yes | 11/21
Siemens | S 40407-025 | Residential/Commercial, OH, lay in | 200 | 7 | yes | 2/20
Siemens | S 42507-025 (7 term) | Commercial, OH, stud | 200 | 7 | yes | 5/16
Siemens | S 9804-9026 | Commercial, UG, stud | 200 | 7 | yes | 3/14
Eaton | E CMB1212B200BTS | Residential, OH/UG, lay in, 200A Break w/ loadcenter | 200 | 4 or 5 | no | 10/20
Durham | D UTH5210B | Residential/Commercial, OH/UG, stud | 200 | 4 or 5 | yes | 3/14
Eaton | E CMBX****B200BTS | Res/Com, OH/UG, lay in, 200A Break w/ loadcenter | 200 | 4 or 5 | yes | 5/18
Eaton | E MBX816B200BTS | Res/Com, OH/UG, lay in, 200A Break w/ loadcenter | 200 | 4 or 5 | yes | 10/20
Milbank | M U6281-XL-200-5T9 | Residential/Commercial, OH/UG, lay in | 200 | 4 or 5 | yes | 2/20
Milbank | M U4801-XL-5T9 | Res/Com, OH, lay in | 200 | 4 or 5 | yes | 5/18
Siemens | S 40405-025 | Residential/Commercial, OH, lay in | 200 | 4 or 5 | yes | 2/20
Durham | D UTH4330U | Residential/Commercial, OH/UG, stud | 320 | 4 | yes | 3/14
Milbank | M U1129-O | Residential/Commercial, UG, stud | 320 | 4 | yes | 5/18
Siemens | S 47604-02QG | Commercial, OH/UG, stud | 320 | 4 | yes | 5/16
Siemens | S 48104-02 | Commercial, OH/UG, stud | 320 | 4 | yes | 5/16
Siemens | S MC****B1400RLTM | Res/Com, OH/UG,stud/lay in, 200A Break w/ loadcenter | 320 | 4 | yes | 5/18
Durham | D UTH7330U | Commercial, OH/UG, stud | 320 | 7 | yes | 3/14
Milbank | M U2120-X | Commercial, UG, stud | 320 | 7 | yes | 3/14
Milbank | M U2594-X | Commercial, OH/UG, stud | 320 | 7 | yes | 5/18
Milbank | M U4911-X | Commercial, OH/UG, stud | 320 | 7 | yes | 5/18
Siemens | S 44707-02 | Commercial, OH/UG, stud | 320 | 7 | yes | 5/16
Siemens | S 47707-02 | Commercial, OH, stud | 320 | 7 | yes | 5/16
Siemens | S 48707-02FE | Commercial, OH/UG, stud | 320 | 7 | yes | 5/16
Siemens | S 49007-02 | Commercial, OH/UG, stud | 320 | 7 | yes | 5/16
Milbank | M M5U5894-X-2-200 | Res/Com, OH/UG, stud, two 200A Breakers | 320 | 4 or 5 | yes | 3/14
Milbank | M U6605-X-2/200-K3L | Res/Com, OH/UG, stud/lay in, two 200A Breakers | 320 | 4 or 5 | yes | 1/23
Milbank | M U5059-X-2-200-K3L | Res/Com, OH/UG, stud/lay in, two 200A Breakers | 320 | 4 or 5 | yes | 5/16
Milbank | M U6585-X-2/200-5T9 | Res/Com, OH/UG, stud, two 200A Breakers | 400 | 4 or 5 | yes | 8/22
Eaton | E HP816P400BSL | Residential/Commercial, OH/UG, stud | 400 | 4 | yes | 8/19
Square D | Q U816D400** | Residential/Commercial, OH/UG, lay in/stud | 400 | 4 or 5 | yes | 5/19
Square D | Q U12L400CL | Residential/Commercial, OH/UG, stud | 400 | 4 or 5 | yes | 5/19
Notes:
SOCKETS FOR COMMERCIAL USE, MUST HAVE A BYPASS LEVER
* - this is part of the Cat. # that can vary depending on features
- first digit of Cat. # is manufacturer (M - Milbank, E - Eaton, D - Durham, S - Siemens, MW - Midwest, Q - Square D)